## Slide 1: Efficiency savings at ISIS Facility using machine learning techniques
Anders Markvardsen
ISIS Facility, March 2017

## Slide 3: Two ways machine learning can help
More from less
Efficiency savings: less time and/or less manual time required

## Slide 4: Manual intensive tasks
Feature finding in data
  4D inelastic data
  3D elastic data
  (1D spectra)
Calibrating instrument
Crystal structure analysis tasks

## Slide 5: Data processing time wasting on WISH

## Slide 6: WISH case in more detail
Runs ~60 SCD experiments a year
Instrument scientists manually adjust output: from a few hours to weeks (on average at least a day). And this does not account for the time the users spend on this.
This is why some experimental data does not get processed
Cost in FEC £ to ISIS per year: ~60 working days ~= 60/(12*20) * 100000 = £25000
Other important costs: fewer scientific publications and cost to users
Hence the total cost to ISIS considerably higher than £25000 per year

## Slide 7: WISH feasibility study
~10 working days spread over 3 staff over ~3 months
Samuel Jackson and Michael Hart
Cost ~£6000, where proportion counts towards Samual’s/Michael’s L&D to better understanding ISIS neutron data

## Slide 8: What next
Feasibility “approved” and is receiving feedback to it this week
From next week to start implement in 3-month stages with evaluation points, where 1st stage at the same resource level
In parallel continue to seek further input

## Slide 9: Data acquisition, understanding and preparation
HKL file
Transfer to Q-space
Non machine learning alg. +
Instrument scientist pain
CIF file
(new science)
Raw data
~1GB per dataset
Q-space file
~100MB per dataset
x
x
Ground truth
Feature list in Q-space:
x y z , good yes/no? etc

## Slide 10
Verification
CIF file
Raw file
Q-space file
Ground truth
Feature list file

## Slide 11
ML
Feature list file
Q-space file
Non ML
Feature list file
Non ML alg.
Trained
ML alg.
Trained
ML alg.

## Slide 12: Strategy
Bottom up approach
Since there is a risk that machine learning will not work

## Slide 13
I currently believe machine learning can provide huge savings at ISIS
Acknowledgements: Samuel Jackson
Michael Hart

## Slide 14
Simulated data:
Loop over a set of crystal structures:
  Convolute predicted peak positions with sample resolution to get first output in q-space
  Add instrument resolution and instrument view of q-space
  Add noise (counting statistics)
  Loop over sample environment:
  Add artefact for each sample container environment