Finding Single Crystal Peaks

---
WISH Clear Peaks

---
Description of Problem
- A lot of Instrument Scientist time is spent identifying or correcting peaks
- Current density-based algorithm too unreliable when heavy noise is involved
- For a human, the process is easy but tedious and wasteful
- Could machine learning be used to better identify peaks in the presence of noise?

---
WISH Noisy Peaks

---
Peaks and Rings

---
Noise

---
Weak Peaks

---
Goals
- Ideally, we want:
  - Automatic identification with minimal error
  - Confidence estimate
  - Classification by shape and size
  - Continuous learning based on corrections

---
Thoughts and Challenges
- Considering:
  - Hand-crafted ROI + SVM or Random Forest
  - Neural Network(s) for ROI and classification
- Data is 3-dimensional
  - To slice or not to slice
- Data can be huge (~10GB+ in memory)
- Lack of correctly identified data for training
  - Considering simulated data as substitute

---
Plan Going Forward
- Next steps to find a solution
  - Generate simulated training data set
    - Much faster than trying to gather enough manually labelled real data
  - Evaluate performance of current algorithm against simulated data set
  - Develop prototype(s) using new approach
  - Evaluate performance of prototype(s) against simulated data set

---
Questions We Have
- Feasibility of Problem
  - Is this something ML can solve?
- Most Appropriate Models
- Do the next steps we plan to take make sense?
- How best to measure effectiveness of model & simulated data?